## Surplus Auction Template
QTY | Manufacturer | Part number (MPN) | Condition | Description
2 | Siemens | 6ES7138-6DB00-0BB1 | New Factory Sealed | SIMATIC ET 200SP, TM Pulse 2x24V PWM and pulse output 2 channels 2 A for proportional valves and DC motors
5 | Siemens | 6FX5002-5CG22-1BA0 | New Factory Sealed | Power cable pre-assembled 4x 1.5 C Speed connect connector Sz. 1.5 (SINAMICS AC Drive) UL/CSA DESINA MOTION-CONNECT 500 Dmax=8.4 mm TYPE: 6FX5002-5CG22 LENGTH (M) = +0 +10 +0 +0
1 | Siemens | 6FX5008-1BB05-1AB0 | New Factory Sealed | Power cable sold by the meter type: 6FX5008-1BB05 4x 95 C UL/CSA, DESINA MOTION-CONNECT 500 Dmax=51.7 mm, Length (m)= +0 +0 +1 +0
1 | Siemens | 6ES7514-2WN03-0AB0 | New Factory Sealed | SIMATIC DP, CPU 1514SP TF-2 PN for ET 200SP, central processing unit with 900 KB work memory for program and 3.5 MB for data, 1st interface: PROFINET IRT with 2-port switch, 2nd interface: PROFINET RT 6 ns bit performance, SIMATIC Memory Card required, BusAdapter required for 1 interface
3 | Siemens | 1FK7042-2AK71-1RG0 | New Factory Sealed | SIMOTICS S Synchronous motor 1FK7-CT PN=0.94kW; UDC=600V M0=3Nm (100K); NN=6000rpm; Naturally cooled IMB 5 design (IM V1, IM V3) Flange 1 Power connector rotatable Absolute encoder 20-bit +12-bit multi-turn with Drive-CLiQ interface (encoder AM20DQI) smooth shaft, tolerance N without holding brake IP64 degree of protection
6 | Siemens | 1FK7042-2AF71-1QB0 | New Factory Sealed | SIMOTICS S SIMOTICS S-1FK7 1FK7-CT synchronous motor PN=0.82 kW UDC=600 V M0=3 Nm (100K); NN=3000 r/min; naturally cooled design MB 5 (IM V1, IM V3) flange 1 power connector rotatable absolute encoder single-turn 20 bit with DRIVE-CLiQ interface (encoder AS20DQI) shaft with feather key, tolerance N with holding brake degree of protection IP64
7 | Siemens | 1FK7063-2AF71-1RA0 | New Factory Sealed | SIMOTICS S synchronous motor 1FK7-CT PN=2.3kW; UDC=600V M0=11Nm (100K); NN=3000rpm; naturally cooled design IMB 5 (IM V1, IM V3) Flange 1 Power connector rotatable Absolute encoder 20-bit + 12-bit multiturn with DRIVE-CLiQ interface (encoder AM20DQI) shaft with feather key, tolerance N without holding brake, degree of protection IP64
6 | Siemens | 1FK7063-2AF71-1QA0 | New Factory Sealed | SIMOTICS S synchronous motor 1FK7-CT PN=2.3kW; UDC=600V M0=11Nm (100K); NN=3000rpm; naturally cooled design IMB 5 (IM V1, IM V3) Flange 1 Power connector rotatable Absolute encoder single-turn 20-bit with Drive-CLiQ interface (encoder AS20DQI) shaft with feather key, tolerance N without holding brake, degree of protection IP64
1 | Siemens | 1FK7063-2AF71-1RG0 | New Factory Sealed | SIMOTICS S synchronous motor 1FK7-CT PN=2.3kW; UDC=600V M0=11Nm (100K); NN=3000rpm; naturally cooled design IMB 5 (IM V1, IM V3) Flange 1 Power connector rotatable Absolute encoder 20-bit + 12-bit multiturn with DRIVE-CLiQ interface (encoder AM20DQI) Smooth shaft, tolerance N without holding brake, degree of protection IP64
4 | Siemens | 1FK2106-6AF00-1SA0 | New Factory Sealed | SIMOTICS S-1FK2 HD servo motor M0=16 Nm; PN = 3.3 kW at nN=3000 rpm (380-480 V); PN = 2.15 kW at nN=1500 rpm (200-240 V); degree of protection IP64; shaft D24x50 mm with feather key; absolute encoder single-turn 22-bit (encoder AS22DQC); with OCC interface; plug size M23, rotatable;
2 | Siemens | 6SL3210-5HB10-2UF0 | Used | SINAMICS S210 Input voltage: 200-240V 1AC; -10%/+10%; 2.7A; 45-66Hz; Output voltage: 0-input V; 1.4A; 0-550Hz; Motor: 0.2 kW; degree of protection: IP20; Frame size A; 45 x 170 x 170 (WxHxD)
1 | Siemens | 1FK2203-2AG10-1SA0 | Used | SIMOTICS S-1FK2 CT servo motor M0=0.64 Nm; PN = 0.2 kW at nN=3000 rpm (200-240 V); with holding brake; degree of protection IP64; shaft D14x30 mm with feather key; absolute encoder single-turn 22-bit (encoder AS22DQC); with OCC interface; plug size M12, rotatable;
2 | Siemens | 6FX5002-8QN04-1AD0 | Used | Single cable prefabricated 4G0.38+2x0.38+4x0.2 C SPEED-CONNECT M12 connector Cores with end sleeve Data cable with IX connector UL/CSA DESINA MOTION-CONNECT 500 Dmax.=9.7 mm, length(m)= +0 +0 +3 +0
1 | Siemens | 6SL3244-0BA20-1FA0 | Used | ***spare part*** SINAMICS G120 Control Unit CU240S PN S-Type Standard PROFINET 9 DI, 4 DQ, 2 AI, 2 AQ PTC/KTY interface EM brake relay, MMC interface encoder interface degree of protection IP20 ambient temperature -10 to +50 °C without Power Module and BOP
1 | Siemens | 6SL3246-0BA22-1FA0 | Used - Missing Pin | SINAMICS G120 CONTROL UNIT CU250S-2 PN INTEGRIERT PROFINET SUPPORT OF VECTOR CONTROL, EASY POSITIONING EPOS VIA EXTENDED FUNCTION LICENSE 4 CONFIGURABLE DI/DO, 6 DI (3 F-DI), 5 DI, 3 DO (1 F-DO), 2 AI, 2 AO SAFETY INTEGRATED STO, SBC, SS1 FURTHER SAFETY FUNCTIONS VIA EXTENDED SAFETY LICENSE ENCODER: D-CLIQ + HTL/TTL/SSI, RESOLVER/HTL VIA TERMINAL PROTECTION IP20 USB- AND SD/MMC-INTERFACE
1 | Siemens | 6SL3053-0AA00-3AA1 | Used - Open Box | SINAMICS VOLTAGE SENSING MODULE VSM10
1 | Siemens | 6SL3040-1MA00-0AA0 | Used | SINAMICS CONTROL UNIT CU320-2 DP WITH PROFIBUS INTERFACE WITHOUT COMPACT FLASH CARD.
4 | Siemens | 6SL3260-4NA00-1VA5 | Used | SINAMICS V90 50-point setpoint signal cable Cable length: 0.5 m with connecting terminal
1 | Siemens | 6SL3210-5FE12-0UA0 | Used | SINAMICS V90 Input voltage: 380-480 V 3 A -15%/+10% 9.8 A 45-66 Hz Output voltage: 0 – Input 7.8 A 0-330 Hz Motor: 2.0/2.5 kW Degree of protection: IP20 Size B 100x180x220 (WxHxD)
1 | Siemens | 1FK7060-2AF71-1RA0 | Used | SIMOTICS S synchronous motor 1FK7-CT PN=1.5kW; UDC=600V M0=6Nm (100K); NN=3000rpm; naturally cooled design IMB 5 (IM V1, IM V3) Flange 1 Power connector rotatable Absolute encoder 20-bit + 12-bit multiturn with DRIVE-CLiQ interface (encoder AM20DQI) shaft with feather key, tolerance N without holding brake, degree of protection IP64
1 | Siemens | 6ES7241-1CH32-0XB0 | Open Box | SIMATIC S7-1200, Communication module CM 1241, RS422/485, 9-pole D-sub (socket) supports Freeport
4 | Siemens | 6ES7131-4BF00-0AA0 | New Factory Sealed | *** Spare part *** Electronics module for ET 200S, 8DI 24 V DC 15 mm width, 1 unit per packing unit
40 | Siemens | 6ES7138-6BA01-0BA0 | New Factory Sealed | SIMATIC ET 200SP, TM Posinput 1 counter and position decoder module for RS-422 incremental encoder or SSI absolute encoder, 2 DI, 2 DQ suitable for BU type A0, pack quantity: 1 unit
1 | Siemens | 6ES7134-6GF00-0AA1 | New Factory Sealed | SIMATIC ET 200SP, Analog input module, AI 8XI 2-/4-wire Basic, suitable for BU type A0, A1, Color code CC01, Module diagnostics, 16 bit
2 | Siemens | 6ES7134-6GB00-0BA1 | 2 Open Box | SIMATIC ET 200SP, Analog input module, AI 2xI 2-/4-wire Standard, Pack quantity: 1 unit, suitable for BU type A0, A1, Color code CC05, Module diagnostics, 16 bit
4 | Siemens | 6ES7193-6AR00-0AA0 | New Factory Sealed | SIMATIC ET 200SP, BusAdapter BA 2xRJ45, 2 RJ45 sockets
1 | Siemens | 6ES7136-6DC00-0CA0 | New Factory Sealed | SIMATIC DP, electronic module ET 200SP, F-DQ 8x24VDC/0.5A PP HF, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508)
18 | Siemens | 6ES7138-6CG00-0BA0 | New Factory Sealed | SIMATIC ET 200SP, TM timer DIDQ 10x 24V time-controlled digital inputs and outputs 4 DI, 6DQ with time stamp Count, PWM, oversampling
5 | Siemens | 6ES7132-6BF01-0BA0 | New Factory Sealed | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage
5 | Siemens | 6ES7131-6BF01-0BA0 | New Factory Sealed | SIMATIC ET 200SP, Digital input module, DI 8x 24V DC Standard, type 3 (IEC 61131), sink input, (PNP, P-reading), Packing unit: 1 piece, fits to BU-type A0, Colour Code CC01, input delay time 0,05..20ms, module diagnostics for: short-circuit of sensor supply, wire break, supply voltage
1 | Siemens | 6SL3255-0AA00-4BA1 | New Factory Sealed | ***spare part*** SINAMICS G110 Basic Operator Panel (BOP)
3 | Siemens | 6ES7592-1AM00-0XB0 | 1 Open Box | SIMATIC S7-1500, Front connector Screw-type connection system, 40-pole for 35 mm wide modules incl. 4 potential bridges, and cable ties
1 | Siemens | 6SL3255-0VA00-2AA1 | Open Box | SINAMICS V20 BOP interface Size: 49x56x23 (WxHxD)
1 | Siemens | 6SL3255-0VA00-2AA0 | New Factory Sealed | SINAMICS V20 BOP interface Size: 49x56x23 (WxHxD)
4 | Siemens | 6ES7132-6BD20-0DA0 | New Factory Sealed | SIMATIC ET 200SP, digital output module, DQ 4x 24 V DC/2A High Speed, Pack quantity: 1 unit suitable for BU type A0, Color code CC00, 3 alternative operating modes: DQ, Oversampling, PWM Module diagnostics
1 | Siemens | 6SL3255-0AA00-5AA0 | New Factory Sealed | SINAMICS G120 Web Server Module
1 | Siemens | 6SL3255-0VA00-4BA0 | New Factory Sealed | SINAMICS V20 BOP Size: 76x85x30 (WxHxD)
1 | Siemens | 6ES7193-6BP20-0BA0 | New Factory Sealed | SIMATIC ET 200SP, BaseUnit BU15-P16+A10+2B, BU type A0, Push-in terminals, with 10 AUX terminals, bridged to the left, WxH: 15 mmx141 mm
1 | Siemens | 6ED1052-1CC08-0BA2 | Used | LOGO! 24CE, logic module, display power supply / I/O: 24 V/24 V/24 V trans., 8 DI (4 AI)/4 DO, memory 400 blocks, modularly expandable, Ethernet integrated web server, data log, user-defined web pages, standard microSD card for LOGO! Soft Comfort V8.4 or higher, older projects executable cloud connection, MQTT in all LOGO! 8.4 basic units
2 | Siemens | 6SE6400-0BP00-0AA0 | Used | MICROMASTER 4 BASIC OPERATOR PANEL (BOP)
1 | Siemens | 6ES7313-6CG04-0AB0 | Used | SIMATIC S7-300, CPU 313C-2 DP Compact CPU with MPI, 16 DI/16 DO, 3 high-speed counters (30 kHz), integrated DP interface, Integr. power supply 24 V DC, work memory 128 KB, Front connector (1x 40-pole) and Micro Memory Card required
1 | Siemens | 6EP1333-2BA20 | Used | SITOP PSU100S 24 V/5 A stabilized power supply input: 120/230 V AC output: 24 V DC/5 A
1 | Siemens | 6SL3255-0AA00-4HA0 | Used | Handheld unit for Intelligent Operator Panel IOP for SINAMICS G120, G120P G110M, G110D, G120D, G120C S110, ET 200S FC, ET 200pro FC, ET 200pro FC-2 includes IOP, handheld housing Power supply (international) Rechargeable batteries (4xAO) RS232 connecting cable (3 m) and USB cable (1 m)
1 | Siemens | 6SE6400-1PC00-0AA0 | Used | ***spare part*** MICROMASTER 4 PC Connection Kit
4 | Siemens | 6SN1113-1AA00-1KA1 | New Factory Sealed | SIMODRIVE VPM 200, VOLTAGE PROTECTION MODULE, 200 A METRIC THREAD
1 | Siemens | 6SL3210-5BB12-5UV1 | Used | SINAMICS V20 200-240V 1AC -10/+10% 47-63Hz rated power 0.25 kW with 150% overload for 60 sec. unfiltered I/O: 4 DI, 2 DO,2 AI, 1 AQ fieldbus: USS/MODBUS RTU with built-in BOP protection: IP20/ UL open size: AA 68x142x108 (WxHxD)
3 | Siemens | 6ES7135-6HD00-0BA1 | Used | SIMATIC ET 200SP, Analog output module, AQ 4XU/I Standard, suitable for BU type A0, A1, Color code CC00, Module diagnostics, 16 bit, +/-0.3%
1 | Siemens | 6ES7241-1AH32-0XB0 | Used | SIMATIC S7-1200, Communication module CM 1241, RS232, 9-pole D-sub (pin), supports Freeport
1 | Siemens | 6ES7193-6PA00-0AA0 | Used | SIMATIC ET 200SP, spare part Server module for ET 200SP
1 | Siemens | 6ES7134-6GD01-0BA1 | Used | SIMATIC ET 200SP, ANALOG INPUT MODULE, AI 4XI 2-/4-WIRE STANDARD, PACKING UNIT: 1 PIECE, FITS TO BU-TYPE A0, A1, COLOR CODE CC03, MODULE DIAGNOSIS, 16BIT, +/-0,3%
1 | Siemens | 6ES7137-6AA00-0BA00 | Used | SIMATIC ET 200SP, CM PTP communication module for serial connection RS-422, RS-485 and RS-232, freeport, 3964 (R), USS, MODBUS RTU master, slave, max. 250 Kbit/s, suitable for BU type A0, pack quantity: 1 unit
1 | Siemens | 6ES7132-6BF01-0BA0 | Used | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Standard, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: short-circuit to L+ and ground, wire break, supply voltage
2 | Siemens | 6ES7193-6BP20-0DA0 | New Factory Sealed | SIMATIC ET 200SP, BaseUnit BU15-P16+A10+2D, BU type A0, Push-in terminals, with 10 AUX terminals, New load group, WxH: 15 mmx141 mm
2 | Siemens | 6FX5002-5CN54-1CA0 | New Factory Sealed | Power cable pre-assembled 4x 6 C SPEED-CONNECT connector Sz. 1.5 Ring cable lug (SINAMICS Motor Module) UL/CSA DESINA MOTION-CONNECT 500 Dmax=15.6 mm TYPE: 6FX5002-5CN54 LENGTH (M) = +0 +20 +0 +0
2 | Siemens | 6FX3002-5CL12-1AH0 | New Factory Sealed | Power cable pre-assembled 4x 2.5, for motor S-1FL6 HI 400 V with V70/V90 frame size B and C MOTION-CONNECT 300 No UL for connector on the motor side Dmax=9.7 mm Length (m)=7 m Version with straight connector Mot
1 | Siemens | 6FX3002-5CL02-1BA0 | New Factory Sealed | Power cable pre-assembled 4x 1.5, for motor S-1FL6 HI 400 V with V70/V90 frame size AA and MOTION-CONNECT 300 No UL for connector on the motor side Dmax=8.1 mm Length (m)=10 m Version with straight connector Mot
2 | Siemens | 6FX3002-5CL12-1BA0 | New Factory Sealed | Power cable pre-assembled 4x 2.5, for motor S-1FL6 HI 400 V with V70/V90 frame size B and C MOTION-CONNECT 300 No UL for connector on the motor side Dmax=9.7 mm Length (m)=10 m Version with straight connector Mot
3 | Siemens | 6FX5002-5CN21-1BA0 | New Factory Sealed | Power cable pre-assembled 4x 1.5 C SPEED-CONNECT connector Sz. 1.5 (SINAMICS Motor Module) UL/CSA DESINA MOTION-CONNECT 500 Dmax=15.5 mm LENGTH (M) = +0 +10 +0 +0
1 | Siemens | 6FX5002-5DN01-1BA0 | New Factory Sealed | Power cable pre-assembled 4x 1.5+(2x1.5) C SPEED-CONNECT connector Sz. 1 (SINAMICS Motor Module) UL/CSA DESINA MOTION-CONNECT 500 Dmax=10.8 mm TYPE: 6FX5002-5DN01 LENGTH (M) = +0 +10 +0 +0
1 | Siemens | 6FX5002-5CG10-1AE0 | New Factory Sealed | Power cable pre-assembled 4x 1.5 C SPEED-CONNECT connector Sz. 1 (SINAMICS AC Drive) UL/CSA DESINA MOTION-CONNECT 500 Dmax=8.4 mm TYPE: 6FX5002-5CG10 LENGTH (M) = +0 +0 +4 +0
1 | Siemens | 6EP1333-2AA01 | Used | SITOP PSU100S 24 V/5 A stabilized power supply input: 120/230 V AC output: 24 V DC/5 A
1 | Siemens | 6ES7321-1BH02-0AA0 | Used | SIMATIC S7-300, Digital input SM 321, isolated, 16 DI, 24 V DC, 1x 20-pole
1 | Siemens | 6ES7322-1BH01-0AA0 | Used | SIMATIC S7-300, Digital output SM 322, isolated, 16 DO, 24 V DC, 0.5A, 1x 20-pole, Total current 4 A/group (8 A/module)
1 | Siemens | 6ES7214-1AD23-0XB0 | Used | ***Spare part*** SIMATIC S7-200, CPU 224 Compact unit, DC power supply 14 DI DC/10 DO DC, 8/12 KB progr./8 KB data, PROFIBUS DP expandable
1 | Siemens | 6ES7340-1AH02-0AE0 | Used | SIMATIC S7-300, CP 340 Communications processor with RS232C interface (RS-232-C) incl. configuration package on CD
1 | Siemens | 6ES7277-0AA22-0XA0 | Used | *** spare part *** SIMATIC S7-200, PROFIBUS DP Slave module, 9.6 KB to 12 MB, 1 interface PROFIBUS-DP/MPI
1 | Siemens | 6ES7214-1AD22-0XB0 | Used | *** SPARE PART*** SIMATIC S7-200, CPU 224, COMPACT UNIT, DC POWER SUPPLY 14 DI DC/10 DO DC, 8 KB CODE/5 KB DATA, PROFIBUS DP EXTENDABLE
1 | Siemens | 6SL3210-1KE12-3UB0 | Used | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,75kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,55kW at 200% 3s, 150% 57s, 100% 240s unfiltered external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: USS/ MODBUS RTU Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X155(HXWXD)
1 | Siemens | 6SE6400-2FA00-6AD0 | Used | MICROMASTER 4 EMC filter 200V-480V 3AC 6A Base FSA class A Base FSA class A
1 | Siemens | 6SE6400-4BD11-0AA0 | Used | MICROMASTER 4 Braking resistor 380-480 V 390R 2000W PK 100W cont. 230x 72x 43.5 mm HxWxD IP20
2 | Siemens | 1FL6090-1AC61-0LA1 | Open Box | ****spare part**** SIMOTICS S-1FL6-1FL6 operating voltage 400 V 3 AC PN=2.5 kW; NN=2000 rpm, M0=15 Nm; MN=11.9 Nm shaft height 90 mm absolute encoder 20-bit with feather key, tolerance without holding brake degree of protection IP65 with sealing ring compatible with the converters SINAMICS V70&V90
1 | Siemens | 6SL3210-1SE26-0AA0 | Open Box | ***spare part*** SINAMICS S120 converter PM340 Power Module input: 380-480 V 3AC, 50/60 Hz output: 3 AC 60 A (30 kW) type of construction: blocksize frame size FSD with built-in line filter internal air cooling
1 | Siemens | 6RX1800-4DK00 | Open Box | Commutating reactor for converter; Phases: 3 F(Hz): 50/60; ILN=Ithmax(A): 13 UN(V): 400 (50Hz)/480 (60 Hz) UK (%): 4; Lrated (mH): 2.315 tA/insulating material class: 40°/B; IP00 connection: Terminal connection EN 61558-2-20
1 | Siemens | 6RX1800-4DE00 | Open Box | Commutating reactor for converter; Phases: 1 F(Hz): 50/60; ILN=Ithmax(A): 3 UN(V): 400 (50Hz)/480 (60 Hz) UK (%): 4; Lrated (mH): 16.97 tA/insulating material class: 40°/B; IP00 connection: Terminal connection EN 61558-2-20
2 | Siemens | 6SL3260-2NA00-0AC0 | New Factory Sealed | Setpoint connector for connection to SINAMICS V90 with controller 50-pole insulator, MDR 50x pin contact (0.05-0.2 mm2)
1 | Siemens | 6FX2003-0SL11 | New Factory Sealed | ****spare part**** incremental signal connector 6FX2003-0SL11 for connection to S-1FL6 HI 8-pole insulator bayonet closure 8x socket contact (0.2-0.25 mm2) D6 to D8 mm content 30 units
1 | Siemens | 6SL3260-2MA00-0VA0 | New Factory Sealed | I/O connector for SINAMICS V90 PROFINET 20-pole, MDR Contents 5 units
5 | Siemens | 6FX2003-0DM67 | New Factory Sealed | signal connector, RJ45 type: 6FX2003-0DM67 DRIVE-CLiQ IP67 metal version
1 | Siemens | 6SL3040-0JA01-0AA0 | New Factory Sealed | SINAMICS S110 CONTROL UNIT CU305 PN WITH PROFINET INTERFACE WITHOUT MEMORY CARD
1 | Siemens | 6FX8002-5CG10-1AE0 | New Factory Sealed | Power cable pre-assembled 4x 1.5 C, SPEED-CONNECT Sz. 1 for SINAMICS S120 Power Module MOTION-CONNECT 800PLUS Trailable UL/CSA, DESINA Dmax=9.5 mm, Length (m)= TYPE: 6FX8002-5CG10 LENGTH (M) = +0 +0 +4 +0
1 | Siemens | 6FX5002-5CN31-1BA0 | New Factory Sealed | Power cable pre-assembled 4x 2.5 C SPEED-CONNECT connector Sz. 1.5 (SINAMICS Motor Module) UL/CSA DESINA MOTION-CONNECT 500 Dmax=12.9 mm TYPE: 6FX5002-5CN31 LENGTH (M) = +0 +10 +0 +0
1 | Siemens | 6FX8002-5CR42-1BF0 | New Factory Sealed | Power cable pre-assembled type: 6FX8002-5CR42 4x 10 C, M40 screw connection SINAMICS S120 Power Module MOTION-CONNECT 800 trailable, UL/CSA, DESINA Dmax=19.4 mm, Length (m)= +0 +10 +5 +0
1 | Siemens | 6FX5002-5CS21-1BA0 | New Factory Sealed | power cable pre-assembled type: 6FX5002-5CS21 (1FT/1FK for SINAMICS) 4x 1.5 C, Connector Sz. 1.5/1.5 mm2 UL/CSA, DESINA MOTION-CONNECT 500 Dmax=15.5 mm; Length (m)= +0 +10 +0 +0
1 | Siemens | 6FX8002-2DC10-1AE0 | New Factory Sealed | signal cable, pre-assembled type: 6FX8002-2DC10 DRIVE-CLiQ with 24 V plug RJ45 IP20 on module side and IP67 on motor side MOTION-CONNECT 800PLUS released only up to 75 m length Dmax=7.1 mm length (m)= +0 +0 +4 +0
1 | Siemens | 6ES7392-1BM01-0AA0 | Open Box | SIMATIC S7-300, Front connector for signal modules with spring-loaded contacts, 40-pole
1 | Siemens | 6ES7193-4CL20-0AA0 | New Factory Sealed | *** Spare part *** SIMATIC DP, 1 terminal module TM-E15S24-AT for ET 200S, for electronic module 2 AI TC High Feature, 15 mm width, Screw terminals, without terminal access to AUX1, AUX1 continuous
1 | Siemens | 6AV6881-0AP40-0AA0 | New Factory Sealed | SIMATIC SD indoor card 32 GB, secure digital card, indoor use, can be used with TIA V16 or higher, scope of supply: 1 memory card
2 | Siemens | 6SL3054-0FB00-1BA0 | New Factory Sealed | SINAMICS S120 CompactFlash card without performance expansion incl. licensing (Certificate of License, stored on the card) V5.1,
2 | Siemens | 6AU1400-2QA20-0AA0 | New Factory Sealed | SIMOTION drive-based 2 GB Compact Flash Card D4x5-2; SINAMICS drive software V5.x and SIMOTION kernel for SIMOTION D4x5-2; current software version; note: not for SIMOTION D410, D4x5 and D410-2; is compatible with 1 GB CF card 6AU1400-2PA23-0AA0
2 | Siemens | 6SL3260-2DC00-0AA0 | New Factory Sealed | SINAMICS S210 AC- and DC-Link Connector-Kit for 3AC 400V Frame Size: FSA - FSC
2 | Siemens | 6ES7132-4BF00-0AA0 | New Factory Sealed | *** Spare part *** Electronics module for ET 200S, 8 DO 24 V DC/0.5 A, 15 mm width, 1 unit per packing unit
2 | Siemens | 6ES7193-6BP00-0DA0 | New Factory Sealed | SIMATIC ET 200SP, BaseUnit BU15-P16+A0+2D, BU type A0, push-in terminals, without aux. terminals, new load group, WxH: 15x 117 mm
1 | Siemens | 6ES7193-4CB20-0AA0 | Open Box | *** Spare part *** SIMATIC DP, 5 terminal modules TM-E15S24-01 for ET 200S for electronic modules 15 mm width, Screw terminals, 2x4 terminal connections without terminal access to AUX1, AUX1 continuous 5 units per packing unit
1 | Siemens | 6ES7142-6BG00-0AB0 | New Factory Sealed | SIMATIC DP, ET 200ECO PN, 8 DO 24 V DC/1.3 A; 8xM12, Degree of protection IP67
1 | Siemens | 6SL3260-4NA00-1VB0 | New Factory Sealed | Pre-assembled setpoint cable for connection to SINAMICS V90 with controller 50x0.08 Tmax.= 13.7 mm Length (m)=1 m
1 | Siemens | 6ES7971-0BA00 | 1 Open Box 2 Battery | SIMATIC S7-400, Backup battery 3.6 V/2.3 AH for PS 405 4 A/10 A/20 A and PS 407 4 A/10 A/20 A
9 | Siemens | 6SL3060-4AU00-0AA0 | New Factory Sealed | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.60 M
1 | Siemens | 6SL3060-4AB00-0AA0 | New Factory Sealed | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.11 M
10 | Siemens | 6AG1436-2BA10-7AA0 | New Factory Sealed | SIPLUS PS PSU300S 20 A based on 6EP1436-2BA10 with conformal coating, -40…+70 °C, stabilized power supply input: 400-500 V 3 AC output: 24 V DC/20 A
2 | Siemens | 6SE6420-2UD15-5AA1 | New Factory Sealed | **spare part** MICROMASTER 420 without filter 380-480 V 3 AC +10/-10% 47-63 Hz constant torque 0.55 kW overload 150% for 60 s square-law torque 0.55 kW 173x 73x 149 (HxWxD) degree of protection IP20 ambient temperature -10+50 °C without AOP/BOP
1 | Siemens | 6SL3203-0BE17-7BA0 | New Factory Sealed | SINAMICS Line filter class B for Power Module FSA base mounting possible 380V-480V 3AC 11.4A
8 | Siemens | 6SL3040-0PA00-0AA1 | New Factory Sealed | CUA31 Control Unit Adapter for PM340/PM240-2 Power Modules
4 | Siemens | 6AU1410-2AD00-0AA0 | New Factory Sealed | SIMOTION Drive-based Control Unit D410-2 DP/PN; programmable single-axis motion controller with multi-axis option; interfaces: 5 DI, 8 DI/DO, 3 F-DI, 1 F-DO, 1 AI, 1 encoder, 1 DRIVE-CLiQ, 1 PROFIBUS, 2 PROFINET ports, 1 ethernet Note: requires at least SCOUT/firmware V4.3 SP1 HF3
5 | Siemens | 6SL3210-5BB13-7UV1 | New Factory Sealed | SINAMICS V20 200-240V 1AC -10/+10% 47-63Hz rated power 0.37 kW with 150% overload for 60 sec. unfiltered I/O: 4 DI, 2 DO,2 AI, 1 AQ fieldbus: USS/MODBUS RTU with built-in BOP protection: IP20/ UL open size: AA 68x142x108 (WxHxD)
2 | Siemens | 6SL3210-5FE13-5UA0 | New Factory Sealed | SINAMICS V90 Input voltage: 380-480 V 3 A -15%/+10% 13.8 A 45-66 Hz Output voltage: 0 – Input 11.0 A 0-330 Hz Motor: 3.5 kW Degree of protection: IP20 Size C, 140x260x240 (WxHxD)
2 | Siemens | 6AV2128-3MB06-0AX1 | New Factory Sealed | SIMATIC HMI MTP1200, Unified Comfort Panel, touch operation, 12.1" widescreen TFT display, 16 million colors, PROFINET interface, configurable as of WinCC Unified Comfort V16, contains open-source software, which is provided free of charge see enclosed DVD
3 | Siemens | 6SL3210-5FE10-8UA0 | New Factory Sealed | SINAMICS V90 Input voltage: 380-480 V 3 A -15%/+10% 2.6 A 45-66 Hz Output voltage: 0 – Input 2.1 A 0-330 Hz Motor: 0.75 kW Degree of protection: IP20 Size A, 80x180x200 (WxHxD)
1 | Siemens | 6SL3210-5FE11-0UA0 | New Factory Sealed | SINAMICS V90 Input voltage: 380-480 V 3 A -15%/+10% 3.8 A 45-66 Hz Output voltage: 0 – Input 3.0 A 0-330 Hz Motor: 0.75/1.0 kW Degree of protection: IP20 Size A, 80x180x200 (WxHxD)
1 | Siemens | 6AU1432-2AA00-0AA0 | New Factory Sealed | SIMOTION Drive-based Controller Extension CX32-2; inverter control module; to increase drive count on SIMOTION D4x5-2; interfaces: 6 DI, 4 DI/DO, 4 DRIVE-CLiQ
1 | Siemens | 6AV2124-0MC01-0AX0 | New Factory Sealed | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11
1 | Siemens | 6AV2124-1GC01-0AX0 | New Factory Sealed | SIMATIC HMI KP700 Comfort, Comfort Panel, key operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11
4 | Siemens | 6SL3210-5HE12-0UF0 | New Factory Sealed | SINAMICS S210 input voltage 200-480 V 3AC -10%/+10% 7.5 A 45-66 Hz output voltage: 0 input V 7.0 A 0-550 Hz motor: 2.0 kW degree of protection: IP20 frame size B 70 x 322 x 223 (WxHxD)
1 | Siemens | 6AV2144-8JC10-0AA0 | New Factory Sealed | SIMATIC HMI TP900 Comfort INOX Stainless steel front, Continuous decorative film, Degree of protection front IP66K, 9" widescreen TFT display, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, (Microsoft Support included Security updates discontinued) configurable from WinCC Comfort V11
1 | Siemens | 6SL3130-6AE15-0AB1 | Used | SINAMICS S120 SMART LINE MODULE INPUT: 3AC 380-480V, 50/60HZ OUTPUT: 600VDC, 8.3A, 5KW FRAME SIZE: BOOKSIZE INTERNAL AIR COOLING INCL. CONTROL VOLTAGE ADAPTER MODULES PAINTED
1 | Siemens | 6AV2124-0QC02-0AX1 | New Factory Sealed | SIMATIC HMI TP1500 Comfort, Comfort Panel, touch operation, 15" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 24 MB configuration memory, WEC 2013, configurable as of WinCC Comfort V14 SP1 with HSP, ambient temperature up to 50 °C (up to 55 °C with restrictions)
4 | Siemens | 6SL3201-0BE21-0AA0 | 2 Open Box | SINAMICS BRAKING RESISTOR R=140Ohm P_rated=200W P_max=4000W/12s/5% duty STANDALONE
4 | Siemens | 6SL3201-0BE14-3AA0 | New Factory Sealed | SINAMICS BRAKING RESISTOR R=370Ohm P_rated=75W P_max=1500W/12s/5% duty STANDALONE
2 | Siemens | 6GK5206-2BS00-2AC2 | 1 Open Box | SCALANCE XC206-2SFP manageable Layer 2 IE switch; IEC 62443-4-2 certified; 6x 10/100 MBit/s RJ45 ports; 2x 100/1000 Mbit/s SFP; 1x console port; diagnostics LED; redundant power supply; temperature range -40 °C to +70 °C; assembly: DIN rail/S7 mounting rail/wall Office redundancy functions features (RSTP, VLAN,...); PROFINET IO device; Ethernet/IP-compliant; C-plug slot;
1 | Siemens | 6SL3210-5BB21-5UV1 | New Factory Sealed | SINAMICS V20 200-240V 1AC -10/+10% 47-63Hz rated power 1.5 kW with 150% overload for 60 sec. unfiltered I/O: 4 DI, 2 DO,2 AI, 1 AQ fieldbus: USS/MODBUS RTU with built-in BOP protection: IP20/ UL open size: AC 90x160x147(WxHxD)
2 | Siemens | 6ES7511-1TK01-0AB0 | New Factory Sealed | *** spare part *** SIMATIC S7-1500T, CPU 1511T-1 PN, central processing unit with work memory 225 KB for program and 1 MB for data, 1st interface: PROFINET IRT with 2-port switch, 60 ns bit performance, SIMATIC Memory Card required
1 | Siemens | 6ES7307-1EA01-0AA0 | Used | SIMATIC S7-300 Regulated power supply PS307 input: 120/230 V AC, output: 24 V/5 A DC
4 | Siemens | 6ES7513-1AL02-0AB0 | New Factory Sealed | SIMATIC S7-1500, CPU 1513-1 PN, central processing unit with working memory 300 KB for program and 1.5 MB for data, 1. interface: PROFINET IRT with 2 port switch, 40 NS bit-performance, SIMATIC memory card necessary
1 | Siemens | 6SL3210-1PE21-4UL0 | New Factory Sealed | SINAMICS POWER MODULE PM240-2 WITHOUT FILTER WITH BUILT IN BRAKING CHOPPER 3AC380-480V +10/-10% 47-63HZ OUTPUT HIGH OVERLOAD: 4KW FOR 200% 3S,150% 57S,100% 240S AMBIENT TEMP -10 TO +50 DEG C OUTPUT LOW OVERLOAD: 5,5KW FOR 150% 3S,110% 57S,100% 240S AMBIENT TEMP -10 TO +40 DEG C 291 X 100 X 165 (HXWXD), FSB PROTECTION IP20 WITHOUT CONTROL UNIT AND PANEL APPROVED FOR CU FIRMWARE- VERSION V4.6
1 | Siemens | 6SL3210-1KE17-5UB1 | Used | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 3,0kW at 150% 3s, 110% 57s, 100% 240s high overload: 2,2kW at 200% 3s, 150% 57s, 100% 240s unfiltered external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: USS/ MODBUS RTU Protection: IP20/ UL OPEN TYPE Size: FSA 196X73X203(HXWXD)
1 | Siemens | 6SL3210-5FE11-0UF0 | Used | SINAMICS V90, with PROFINET Input voltage: 380-480 V 3 A -15%/+10% 3.8 A 45-66 Hz Output voltage: 0 – Input 3.0 A 0-330 Hz Motor: 0.75/1.0 kW Degree of protection: IP20 Size A, 80x180x200 (WxHxD)
3 | Siemens | 6ES7193-6PA00-0AA0 | New Factory Sealed | SIMATIC ET 200SP, spare part Server module for ET 200SP
1 | Siemens | 6ES7133-6CV15-1AM0 | New Factory Sealed | SIMATIC ET 200SP, 5 BU covers, 15 mm. for protection of empty slots
1 | Siemens | 6ES7136-6DB00-0CA0 | New Factory Sealed | SIMATIC DP, Electronics module for ET 200SP, F-DQ 4X24 V DC/2A, 15 mm width, up to PL E (ISO 13849) up to SIL 3 (IEC 61508)
1 | Siemens | 6ES7222-1BD30-0XB0 | New No Box | SIMATIC S7-1200, Digital output SB 1222, 4 DQ, 24 V DC 200 kHz
1 | Siemens | 6ES7193-4CB20-0AA0 | New No Box | *** Spare part *** SIMATIC DP, 5 terminal modules TM-E15S24-01 for ET 200S for electronic modules 15 mm width, Screw terminals, 2x4 terminal connections without terminal access to AUX1, AUX1 continuous 5 units per packing unit
1 | Siemens | 6ES7193-4JA00-0AA0 | New No Box | *** Spare part *** SIMATIC DP, spare part Termination module for ET 200S
1 | Siemens | 6ED1052-1CC08-0BA0 | New Open Box | LOGO! 24CE, logic module, display power supply / I/O: 24 V/24 V/24 V trans., 8 DI (4 AI)/4 DO, memory 400 blocks, modularly expandable, Ethernet integrated web server, data log, user-defined web pages, standard microSD card for LOGO! Soft Comfort V8.4 or higher, older projects executable cloud connection, MQTT in all LOGO! 8.4 basic units
1 | Siemens | 6ES5710-8MA11 | New Factory Sealed | SIMATIC, Standard mounting rail 35mm, Length 483 mm for 19" cabinet
2 | Siemens | 6FX5002-5CS01-1EA0 | New Factory Sealed | Power cable pre-assembled type: 6FX5002-5CS01 (1FT/1FK/1PH for SINAMICS) 4x 1.5 C, Connector Sz. 1/1.5 mm2 UL/CSA DESINA MOTION-CONNECT 500 Dmax=8.4 mm, Length (m)= +0 +40 +0 +0
3 | Siemens | 6FX8002-8QN21-1EA0 | New Factory Sealed | Single cable connection prefabricated 4G2.5+1Q0,2STC+1P1.5C-C SPEED-CONNECT connector M23 Cores with end sleeve Data cable with IX connector UL/CSA DESINA MOTION-CONNECT 800PLUS Dmax.=13.3 MM Length(M)= +0 +40 +0 +0
2 | Siemens | 6FX5002-2DC10-1BA0 | New Factory Sealed | Signal cable pre-assembled type: 6FX5002-2DC10 (SINAMICS DRIVE-CLiQ) plug IP20/IP67, with 24 V MOTION-CONNECT 500 length (m)= +0 +10 +0 +0
1 | Siemens | 6SL3210-5HB10-2UF0 | New Factory Sealed | SINAMICS S210 Input voltage: 200-240V 1AC; -10%/+10%; 2.7A; 45-66Hz; Output voltage: 0-input V; 1.4A; 0-550Hz; Motor: 0.2 kW; degree of protection: IP20; Frame size A; 45 x 170 x 170 (WxHxD)
2 | Siemens | 1FK2205-4AF00-1MB0 | New Factory Sealed | SIMOTICS S-1FK2 CT servo motor M0=6 Nm; PN = 1.45 kW at nN=3000 rpm (380-480 V); PN = 0.86 kW at nN=1500 rpm (200-240 V); degree of protection IP64; shaft D19x40 mm with feather key; absolute encoder 22-bit + 12-bit multiturn (encoder AM22DQC); with DRIVE-CLiQ plug M17; power connector size M17;
6 | Siemens | 1FK2206-2AF00-1SA0 | New Factory Sealed | SIMOTICS S-1FK2 CT servo motor M0=6.5 Nm; PN = 1.71 kW at nN=3000 rpm (380-480 V); PN = 0.97 kW at nN=1500 rpm (200-240 V); degree of protection IP64; shaft D24x50 mm with feather key; absolute encoder single-turn 22-bit (encoder AS22DQC); with OCC interface; plug size M23, rotatable;
2 | Siemens | 6FX5002-5CG32-1AF0 | New Factory Sealed | Power cable pre-assembled 4x 2.5 C Speed connect connector Sz. 1.5 (SINAMICS AC Drive) UL/CSA DESINA MOTION-CONNECT 500 Dmax=10 mm TYPE: 6FX5002-5CG32 LENGTH (M) = +0 +0 +5 +0
18 | Siemens | 6FX5002-2DC10-1AF0 | New Factory Sealed | Signal cable pre-assembled type: 6FX5002-2DC10 (SINAMICS DRIVE-CLiQ) plug IP20/IP67, with 24 V MOTION-CONNECT 500 length (m)= +0 +0 +5 +0
5 | Siemens | 6FX5002-5DG01-1AF0 | New Factory Sealed | Power cable pre-assembled type: 6FX5002-5DG01 4x 1.5+(2x1.5) C, Connector Sz. 1 (SINAMICS AC Drive) UL/CSA, DESINA MOTION-CONNECT 500 Dmax=10.8 mm +0 +0 +5 +0
11 | Siemens | 6FX5002-5CG01-1AF0 | New Factory Sealed | Power cable pre-assembled type: 6FX5002-5CG01 4x 1.5 C, Connector Sz. 1 (SINAMICS AC Drive) UL/CSA, DESINA MOTION-CONNECT 500 Dmax=8.4 mm +0 +0 +5 +0
1 | Siemens | 1FK7022-5AK71-1AG0 | Used | SIMOTICS S Synchronous servo motor 1FK7 Compact 0.85Nm, 100K, 6000rpm 0.38kW, Naturally cooled Power/signal connectors Connector can be rotated by 270° IMB 5 design (IM V1, IM V3) Flange 1, with KTY temperature sensor Incremental encoder sin/cos 1 Vss 2048 S/R (encoder I-2048) PLAIN SHAFT, TOLERANCE N; W/O HOLDING BRAKE DEGREE OF PROTECTION IP64
1 | Siemens | 1FK7022-5AK71-1DB0 | Used | SIMOTICS S Synchronous servo motor 1FK7 Compact 0.85Nm, 100K, 6000rpm 0.38kW, Naturally cooled Power/signal connectors Connector can be rotated by 270° FRAME SIZE IMB 5 (IM V1, IM V3) FLANGE 1 INCREMENTAL ENCODER 2048 P/REV (ENCODER I-2048) WITH DRIVE-CLIQ INTERFACE; SHAFT WITH FITTED KEY, TOLERANCE N; WITH HOLDING BRAKE DEGREE OF PROTECTION IP64
1 | Siemens | 6SL3040-1MA01-0AA0 | Used | SINAMICS CONTROL UNIT CU320-2 PN WITHOUT COMPACT FLASH CARD
1 | Siemens | 6SL3060-4AK00-0AA0 | New Factory Sealed | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.31 M
1 | Siemens | 6SL3060-4AM00-0AA0 | New Factory Sealed | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.36 M
1 | Siemens | 6ES7972-0BA52-0XA0 | New Factory Sealed | SIMATIC DP, Connection plug for PROFIBUS up to 12 Mbit/s 90° cable outlet, Insulation displacement method FastConnect, without PG socket 15.8x 59x 35.6 mm (BxHxD)
2 | Siemens | 6ES7823-0AA00-1AA0 | New Factory Sealed | SIMATIC ProDiag S7-1500, single runtime license, contains license certificate for 250 monitoring functions, class A, executable on all S7-1500 firmware V2.0 or higher - - content: Certificate of License
2 | Siemens | 6GK7343-1GX30-0XE0 | Used | ********** spare part ********* communications processor CP 343-1 Advanced for connection of SIMATIC S7-300 CPU to Industrial Ethernet: PROFINET IO controller a./o. IO device; RT and IRT, MRP, PROFINET CBA; TCP/IP, ISO, UDP, S7 comm., S5-compat. communication (send/receive) with Fetch/Write with and without RFC 1006, multicast diagnostics extension, SNMP, DHCP FTP client/server, email, data storage on C-plug, PROFINET interface 2x RJ45 (10/100 Mbit) Gigabit interface 1x RJ45 (10/100/1000 Mbit).
4 | Siemens | 1FK7042-2AF71-1RB0 | New Factory Sealed | SIMOTICS S SIMOTICS S-1FK7 1FK7-CT synchronous motor PN=0.82 kW UDC=600 V M0=3 Nm (100K); NN=3000 r/min; naturally cooled design MB 5 (IM V1, IM V3) flange 1 power connector rotatable absolute encoder 20 bit +12 bit multiturn with DRIVE-CLiQ interface (encoder AM20DQI) shaft with feather key, tolerance N with holding brake degree of protection IP64
4 | Siemens | 6FX5002-5CN27-1BA0 | New Factory Sealed | Power cable pre-assembled TYPE 6FX5002-5CN27 4X1,5C, SPEED-CONNECT SIZE 0.5 FOR SINAMICS S120 BOOKSIZE MOTOR MODULE C-/D-TYPES MOTION-CONNECT 500 UL/CSA, DESINA DMAX=8.4 MM LENGTH (M) = +0 +10 +0 +0
1 | Siemens | 6SL3054-0FC00-1BA0 | New Factory Sealed | SINAMICS S120 CompactFlash card without performance expansion incl. licensing (Certificate of License, stored on the card) V5.2
1 | Siemens | 6SL3040-1MA01-0AA0 | New Open Box | SINAMICS CONTROL UNIT CU320-2 PN WITHOUT COMPACT FLASH CARD
1 | Siemens | 6SL3055-0AA00-2TA0 | New Factory Sealed | SINAMICS / SIMOTION TERMINAL BOARD TB30 FOR CONTROL UNIT CU320-X AND SIMOTION D4x5-X
2 | Siemens | 6SL3055-0AA00-3AA1 | New Factory Sealed | SINAMICS TERMINAL MODULE TM31 ADD ON BOARD FOR SINAMICS WITH DIGITAL AND ANALOG IN- AND OUTPUTS IP20 FOR CAP RAIL MOUNTING
2 | Siemens | 6ES7193-4CA50-0AA0 | New Factory Sealed | *** Spare part *** SIMATIC DP, 5 universal terminal modules TM-E15C26-A1 for ET 200S for electronic modules 15 mm width, Spring-type terminals, 2x6 terminal connections with terminal access to AUX1, AUX1 continuous 5 units per packing unit
1 | Siemens | 6ES7137-6AA01-0BA0 | New Factory Sealed | SIMATIC ET 200SP, CM PTP communication module for serial connection RS-422, RS-485 and RS-232, freeport, 3964 (R), USS, MODBUS RTU master, slave, max. 250 Kbit/s, suitable for BU type A0, pack quantity: 1 unit
2 | Siemens | 6ES7138-6BA01-0BA0 | 1 No Box 1 Open Box | SIMATIC ET 200SP, TM Posinput 1 counter and position decoder module for RS-422 incremental encoder or SSI absolute encoder, 2 DI, 2 DQ suitable for BU type A0, pack quantity: 1 unit
1 | Siemens | 6ES7193-6BP20-0BF0 | New Open Box | SIMATIC ET 200SP, BaseUnit BU20-P8+A4+0B, BU type F0, Push-in terminals, with 4 AUX terminals, bridged to the left, WxH: 20 mmx117 mm
2 | Siemens | 6ES7193-6BP20-0BF0 | New Open Box | SIMATIC ET 200SP, BaseUnit BU20-P8+A4+0B, BU type F0, Push-in terminals, with 4 AUX terminals, bridged to the left, WxH: 20 mmx117 mm
1 | Siemens | 6AV2124-1GC01-0AX0 | New Open Box | SIMATIC HMI KP700 Comfort, Comfort Panel, key operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11
1 | Siemens | 6AU1425-2AA00-0AA0 | New Factory Sealed | SIMOTION Drive-based Control Unit D425-2 DP; programmable motion controller; BASIC performance; interfaces: 12 DI, 16 DI/DO, 4 DRIVE-CLiQ, 2 PROFIBUS, 3 ethernet, 2 USB, 1 option slot; incl. dual fan / battery module and battery
1 | Siemens | 6SL3130-6AE21-0AB1 | New Factory Sealed | SINAMICS S120 SMART LINE MODULE INPUT: 3AC 380-480V, 50/60HZ OUTPUT: 600VDC, 17A, 10KW FRAME SIZE: BOOKSIZE INTERNAL AIR COOLING INCL. CONTROL VOLTAGE ADAPTER MODULES PAINTED
2 | Siemens | 6FX5002-5CN36-1BA0 | New Factory Sealed | Power cable pre-assembled TYPE 6FX5002-5CN36 4X2.5 C CONNECTOR SPEED-CONNECT SIZE 1.5 FOR SINAMICS S120 BOOKSIZE MOTOR MODULE C-/D-TYPES MOTION-CONNECT 500 UL/CSA, DESINA DMAX=11 MM LENGTH (M) = +0 +10 +0 +0
1 | Siemens | 6ES7132-6BF01-0AA0 | New Factory Sealed | SIMATIC ET 200SP, Digital output module, DQ 8x 24V DC/0,5A Basic, Source output (PNP,P-switching) Packing unit: 1 piece, fits to BU-type A0, Colour Code CC02, substitute value output, module diagnostics for: supply voltage
1 | Siemens | 6SL3000-0CE15-0AA0 | New Factory Sealed | SINAMICS LINE REACTOR FOR 5 KW SMART LINE MODULE INPUT: 3-PH 380-480 V, 50/60 HZ
2 | Siemens | 6FX5002-2DC40-1BA0 | New Factory Sealed | Signal cable pre-assembled type: 6FX5002-2DC40 Customer-specific DRIVE-CLiQ with 24 V M17 female SPEED-CONNECT/ RJ45 IP20 MOTION-CONNECT 500 Dmax=7.1 mm Length (m)= +0 +10 +0 +0
1 | Siemens | 6SL3000-0CE21-0AA0 | New Factory Sealed | SINAMICS LINE REACTOR FOR 10 KW SMART LINE MODULE INPUT: 3-PH 380-480 V, 50/60 HZ
1 | Siemens | 1FK2106-4AF10-1MB0 | New Factory Sealed | SIMOTICS S-1FK2 HD servo motor M0=12 Nm; PN = 2.7 kW at nN=3000 rpm (380-480 V); PN = 1.64 kW at nN=1500 rpm (200-240 V); with holding brake; degree of protection IP64; shaft D24x50 mm with feather key; absolute encoder 22-bit + 12-bit multiturn (encoder AM22DQC); with DRIVE-CLiQ plug M17; power connector size M23;
1 | Siemens | 1FK2210-5AC00-1SB0 | New Factory Sealed | SIMOTICS S-1FK2 CT servo motor M0=50 Nm; PN = 7.1 kW at nN=2000 rpm (380-480 V); PN = 4.55 kW at nN=1000 rpm (200-240 V); degree of protection IP64; shaft D38x80 mm with feather key; absolute encoder single-turn 22-bit (encoder AS22DQC); with DRIVE-CLiQ plug M17; power connector size M40;
1 | Siemens | 6FX5002-5DN06-1BA0 | New Factory Sealed | Power cable pre-assembled TYPE 6FX5002-5DN06 4X1.5, (2X1.5)C C CONNECTOR SPEED-CONNECT SIZE 1 FOR SINAMICS S120 BOOKSIZE MOTOR MODULE C-/D-TYPES MOTION-CONNECT 500 UL/CSA, DESINA DMAX = 10.8 MM LENGTH (M) = +0 +10 +0 +0
4 | Siemens | 6SL3210-5HB10-8UF0 | New Factory Sealed | SINAMICS S210 Input voltage: 200-240 V 1AC; -10%/+10%; 9.3 A; 45-66 Hz; Output voltage: 0-input V; 4.4 A; 0-550 Hz; Motor: 0.75 kW; Degree of protection: IP20; Frame size C; 75 x 170 x 195 (WxHxD)
2 | Siemens | 1FK2205-2AF10-1MA0 | New Factory Sealed | SIMOTICS S-1FK2 CT servo motor M0=3.6 Nm; PN = 0.94 kW at nN=3000 rpm (380-480 V); PN = 0.53 kW at nN=1500 rpm (200-240 V); with holding brake; degree of protection IP64; shaft D19x40 mm with feather key; absolute encoder 22-bit + 12-bit multiturn (encoder AM22DQC); with OCC interface; plug size M17, rotatable;
2 | Siemens | 6ES7155-6AA02-0BN0 | New Factory Sealed | SIMATIC ET 200SP, bundle PROFINET interface module IM 155-6 PN ST, max. 32 I/O modules, and 16 ET 200AL modules, multi hot swap, optional PN strain relief, PN security class 1, bundle consists of: interface module (6ES7155-6AU02-0BN0), server module (6ES7193-6PA00-0AA0), SIMATIC bus adapter BA 2x RJ45 (6ES7193-6AR00-0AA0)
1 | Siemens | 6ES7155-6AR00-0AN0 | New Factory Sealed | SIMATIC ET 200SP, PROFINET interface module IM 155-6PN Basic, Max. 12 I/O modules, 2x integrated RJ45 sockets incl. server module
3 | Siemens | 6ES7193-6BP00-0DA1 | New Factory Sealed | SIMATIC ET 200SP, BaseUnit BU15-P16+A0+2D/T, BU type A1, Push-in terminals, without AUX terminals, New load group, WxH: 15x 117 mm, with temperature acquisition
2 | Siemens | 6ES7138-6AA01-0BA0 | New Factory Sealed | SIMATIC ET 200SP, TM count 1x 24 V Counter module, 1 channel for 24 V incremental encoder or pulse encoder, 3 DI, 2 DQ Suitable for BU type A0, packing quantity: 1 unit,
2 | Siemens | 1FK2205-2AF00-1MA0 | New Factory Sealed | SIMOTICS S-1FK2 CT servo motor M0=3.6 Nm; PN = 0.94 kW at nN=3000 rpm (380-480 V); PN = 0.53 kW at nN=1500 rpm (200-240 V); degree of protection IP64; shaft D19x40 mm with feather key; absolute encoder 22-bit + 12-bit multiturn (encoder AM22DQC); with OCC interface; plug size M17, rotatable;
1 | Siemens | 6AV2124-0MC01-0AX0 | New Open Box | SIMATIC HMI TP1200 Comfort, Comfort Panel, touch operation, 12" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11
1 | Siemens | 6ES7193-6BP00-0BA0 | New Open Box | SIMATIC ET 200SP, BaseUnit BU15-P16+A0+2B, BU type A0, Push-in terminals, without AUX terminals, bridged to the left, WxH: 15x 117 mm
3 | Siemens | 6SL3210-1KE12-3UF2 | New Factory Sealed | SINAMICS G120C rated power 3AC380-480V +10/-20% 47-63Hz low overload: 0,75kW at 150% 3s, 110% 57s, 100% 240s high overload: 0,55kW at 200% 3s, 150% 57s, 100% 240s unfiltered external 24V I/O interface: 6DI, 2DO,1AI,1AO, 1Mot_t Safe Torque Off integrated Fieldbus: PROFINET-PN Protection: IP20/ UL OPEN TYPE Size: FSAA 173X73X160(HXWXD)
1 | Siemens | 1FK7060-2AF71-1QB0 | New Factory Sealed | SIMOTICS S synchronous motor 1FK7-CT PN=1.5kW; UDC=600V M0=6Nm (100K); NN=3000rpm; naturally cooled design IMB 5 (IM V1, IM V3) Flange 1 Power connector rotatable Absolute encoder single-turn 20-bit with Drive-CLiQ interface (encoder AS20DQI) shaft with feather key, tolerance N with holding brake, degree of protection IP64
4 | Siemens | 6SL3162-2BM00-0AA0 | New Factory Sealed | SINAMICS DC LINK RECTIFIER ADAPTER FOR DIRECT INFEED SCREW TERMINALS 35-95 MM2 FOR 150, 200 AND 300 MM LINE/MOTOR MODULES IN BOOKSIZE FORMAT
5 | Siemens | 6SL3162-2MA00-0AA0 | New Factory Sealed | SINAMICS S120 POWER CONNECTOR WITH SCREW TERMINALS FOR MOTOR MODULES 3-30 A FRAME SIZE: BOOKSIZE
5 | Siemens | 6SL3162-2AA00-0AA0 | New Factory Sealed | SINAMICS 24 V TERMINAL ADAPTER FOR MODULES IN BOOKSIZE DESIGN
1 | Siemens | 6SL3130-7TE25-5AA3 | New Factory Sealed | SINAMICS S120 ACTIVE LINE MODULE INPUT: 3AC 380-480V, 50/60HZ OUTPUT: DC 600V, 92A, 55KW FRAME SIZE: BOOKSIZE INTERNAL AIR COOLING INCL. DRIVE-CLIQ CABLE
1 | Siemens | 6SL3120-2TE21-8AD0 | New Factory Sealed | SINAMICS S120 Double Motor Module input: 600 V DC output: 400V 3AC, 18 A/18 A design: booksize D type internal air cooling optimized pulse patterns and support of the extended Safety Integrated functions incl. DRIVE-CLiQ cable