## Sheet1
BRAND | PART NUMBER | DESCRIPTION | QTY
Bently Nevada | 3500-42-01-00 | Discrete I/O Module with Internal Terminations | 6
Bently Nevada | 128229-01 | Discrete I/O Module with Internal Terminations | 3
Bently Nevada | 3500-60-01-00 or 3500-60-01-00 | RTD/TC Non-Isolated I/O Module with Internal Terminations | 3
Bently Nevada | 134544-0100-01 | 3500 Transducer (XDCR) Signal to External Terminations (ET) Block Cable | 1
Bently Nevada | 21000-37-10-74,62 mm | Proximity Probe Housing Assemblies | 4
Bently Nevada | 21000-37-10-52,38 mm | Proximity Probe Housing Assemblies | 12
Bently Nevada | 330105-02-12-05-02-05 | Sensor Probe 8 mm Reverse mount | 8
Bently Nevada | 330105-02-12-10-02-05 | Sensor Probe 8 mm Reverse mount | 24
Bently Nevada | 330101-00-28-05-02-00 | Sensor XL 8 mm Proximity Probes | 6
Bently Nevada | 330180-50-00 | Proximitor Sensor System Panel Mount | 10
Bently Nevada | 330180-90-00 | Proximitor Sensor System Panel Mount | 8
Bently Nevada | 330180-51-00 | Proximitor Sensor System Length DIN mount | 10
Bently Nevada | 330180-91-00 | Proximitor Sensor System Length DIN mount | 8
Bently Nevada | 330180-52-00 | Proximitor Sensor System Length No mounting Hardware | 6
Bently Nevada | 330180-92-00 | Proximitor Sensor System Length No mounting Hardware | 6
Bently Nevada | 330130-040-00-00 | Cable Length Extension | 12
Bently Nevada | 330130-080-00-00 | Cable Length Extension | 10
Bently Nevada | 330130-085-00-00 | Cable Length Extension | 8
Bently Nevada | 3500-22M-01-01-00 | Trasient data Interface Standart Use Applications | 2
Bently Nevada | 130118-010-01- | Host Computer cable rack 3500 | 1
Bently Nevada | 3500-32 | Four Channel Relay Module | 4
Bently Nevada | 3500-25-01-01-00 | Keyphasor Module | 2
Bently Nevada | 3500-15 | Low Voltage AC 85-125 VAC 4,5 A | 4
Bently Nevada | 132306-01/02 | Proxpac Proximity Transducer Assembly | 8
Bently Nevada | 330500-03-00 | VELOMITOR 89411-01 | 8
Bently Nevada | 9571-08 | CABLE WATER PROOF HOUSING 8 FEET | 8
EMERSON | 3051-TG4A2B21AB4E5M5S5T1Q4 | TRANSMISOR DE PRESION SERIE TG, MARCA FISHER ROSEMOUNT, RANGO DE TRABAJO 0-4000 PSIG, MONTAJE DIRECTO EN LINEA, No PARTE; 3051S2-TG4A2A, CON ACCESORIOS DE INSTALACION | 4
EMERSON | 3051CD-2-A-2-2-A1-A-S5-B4-E5-M5 | TRANSMISOR DE FLUJO POR PRESIÓN DIFERENCIAL COPLANAR 3051CD-2-A-2-2-A1-A-S5-B4-E5-M5 RANGO -250 a 250 inH2O SEÑAL DE 4-20 mA HART CON MANIFOLD INTEGRADO 305 | 6
EMERSON | 3144P | ROSEMOUNT 3144P TEMPERATURE TRANSMITTER | 2
UNITED ELECTRIC CONTROL | J120-173 | Presswitche UNITED ELECTRIC CONTROLS (4-100 psi)(0.2 to 6.89 bar) | 8
UNITED ELECTRIC CONTROL | J120-616-01-05 | Presswitche UNITED ELECTRIC CONTROLS (700-5000 psi)(48.3 to 344.7 bar) | 6
UNITED ELECTRIC CONTROL | J120-186-07-08 | Presswitche UNITED ELECTRIC CONTROLS (8-200 psi)(0.6 to 13.8 bar) | 8
EMERSON | DVC-6200F | POSITIONER FISHER ROSEMOUNT DOUBLE ACTION | 1
FLUKE | 750-P06 | FLUKE-750P06 Pressure module, 0 TO 100 psi (0 TO 7 BAR), (0 TO 700 KPA) Parte#: 4352349 | 1
FLUKE | 750-P08 | FLUKE-750P08 Pressure module, 0 TO 1000 psi (0 TO 70 BAR), (0 TO 7000 KPA) Parte#: 4352372 | 1
FLUKE | 754 | Calibrador y documentador de procesos Fluke 754 con soporte HART | 1
EMERSON |  | AMS Trex™ Device Communicator | 1
WIKA | CTM9350 | Multifunctional temperature calibrator Model CTM9350 (O SIMILAR) | 1