## Quotation
Part number (MPN) | Quantity | Brand | Description
7SR1004-4JA20-2CA0/EE | 4 | Siemens | Directional overcurrent and monitoring relay
REL52012 | 2 | Schneider Electric | Universal Protection Relay
604633 | 2 | Klemsan | 16-channel alarm annunciator
VAJH13YF0001BBA | 2 | GE Grid Solutions (Alstom) | Tripping relay
NW16HA (48284) | 1 | Schneider Electric | Low Voltage Air Circuit Breaker (ACB), 1600A, 4-Pole, Draw Out
EXE122608K3W611 | 1 | Schneider Electric | MV Vacuum Circuit Breaker
3NWNS6 | 10 | Siemens | Low Voltage HPC Fuse Link (BS88)
SDO-1351S-24B1.86 24VDC | 4 | Shenzhen Zanty Electronics | DC Solenoid Actuator
NIS17255HB2 | 10 | Nisiki | Exhaust Fan AC Axial Cooling Fan